8
PAGE  
11

ISSN 1392 - 1207. MECHANIKA. 2006. Nr.1(57)

Dynamic simulations regarding the influence of the load-rigidity correlation on the working accuracy of a medical Triglide parallel robot 
N. R. Rat*, M. Neagoe**, D. Diaconescu***, S. D. Stan**** 
*Transilvania University of Brasov, B-dul Eroilor No 29, 500036 Romania, E-mail: ncretescu@unitbv.ro
** Transilvania University of Brasov, B-dul Eroilor No 29, 500036 Romania, E-mail: mneagoe@unitbv.ro 
*** Transilvania University of Brasov, B-dul Eroilor No 29, 500036 Romania, E-mail: dvdiaconescu@unitbv.ro 

**** Technical University of Cluj-Napoca, Bdul Muncii, 400641 Romania, E-mail: sergiustan@ieee.org    
1. Introduction


In the last three decades, the parallel robots have been increasingly studied and developed from both theoretical viewpoints and practical applications, as the medical one.


The parallel robots are structures with closed kinematic chains, composed by an end-effector (the mobile platform) with n DOF (degrees of freedom), connected to a base by two or more kinematical chains called legs (that can be a simple or a complex kinematic chains) [2]. 

For a like 3 DOF structure (Fig. 1), that is also the object of this paper, Stan et al. approached relevant kinematic and control aspects in [3; 4]. 
In this paper, starting from another dynamic applications [1; 5; 8] and using ADAMS simulations, the influence of the load-rigidity correlation on the dynamic response of the considered medical Triglide robot is highlighted; this approach compare two robot models (with rigid and with elastic connecting rods), taking into account adjustable load and adjustable rigidity of the rods AB (Fig. 1). The resulting conclusions are useful for the accuracy of the medical robot applications.      
2. Inverse kinematic model
      
 The 3 DOF Triglide parallel robot (Fig.1) is composed by a base (N) connected at a mobile platform (P) by 3 glide actuators (NAi; i=1, 2, 3) and 3 parallelogram legs whit spherical joints (Ai1, Ai2, Bi1, Bi2).

      
The inverse kinematics of this structure supposes to establish the joint variable vector q(q1, q2, q3) of the  actuators  as against of the end-effector variable vector P(xp, yp, zp)) of the mobile platform center against of the system Nxyz. The actuators’ vector can be obtained from the equations of type (see Fig. 1):


[image: image1.wmf]0

))

cos(

(

))

sin(

(

)}

cos(

))

cos(

(

)

sin(

))

sin(

{(

2

2

2

2

2

3

2

3

3

3

2

=

-

+

×

+

+

×

+

+

×

×

+

+

×

×

+

×

×

+

L

z

L

y

L

x

L

y

L

x

q

q

P

i

P

i

P

i

i

P

i

i

P

i

i

b

b

a

b

a

b







(1) 
which αi and βi = 0º, 120 º, 240 º. 

        This kinematical model, elaborated and simulated in [6, 7], was now extended to the rigid robot dynamic modeling. 


           [image: image2.png]



Fig. 1 Kinematic scheme of a branch from the considered medical parallel robot [6].
2. Dynamic simulation using ADAMS software

      
For the considered medical Triglide robot (Fig. 1) [6], the influence of the load-rigidity correlation on the dynamic response is highlighted further; using ADAMS software, this approach compare two robot models (rigid robot and robot with elastic rods), with adjustable load and adjustable rigidity of the connecting rods AB.
The next premises were taken into consideration:

- Kinematic and dynamic modelling is made in a fix system Oxyz whose origin O is described in the system Nxyz by vector NO (0.14m, 0.13m, 1.11m);
- Robot task: to describe a circle with a radius of 50mm in a tilted plane;
- A first model of rigid robot, whose mass features are given in Table 1, is taken as reference, and
- A second model with elastic rods with adjustable load and adjustable rod elasticity (rods with Φ10mm and rods with Φ20mm) is analysed;  adjustable roads’ elasticity  (that has the main influence) was obtained using ADAMS AutoFlex module,  taking into account only the natural frequency smaller than 200Hz for Φ10mm and than 500Hz for Φ20mm;
- The material used for the elements was aluminium;
- The adjustable load is achieved by adjustable external mass: 0.5, 1.5 and 2.5 kg.
[image: image3.png]A ADAMS/View 2005.0.0
Ble Edt View Buld Smubte Review Settings Tooks Help

iglide

24 Main Toolbox X |

Render




[image: image4.png]A ADAMS/View 2005.0.0

Ble Edt View Buld Smulste Review Settings Tooks Help
LastRun Time= 4.0000 Frame=21

A Main Toolbox [X]

Simulation

I =

Dynamic

End Time
10

Steps

No Debug ~
Render | lcons

el
& lucrar

S aoam.. [ vahos




                        a                                           b
Fig. 2 The 3D model of Triglide robot with rigid (a) and elastic (b) rods of Φ 10mm and external mass of 2.5 Kg .
Table 1
Mass and inertial property of all elements in movement
	Rod diameter
	
[image: image5.wmf]mm

10

f


	
[image: image6.wmf]mm

20

f



	mtot [kg]
	1.1604701612
	3.1118806449

	Jxx    [kg*m2]
	1.1604701612
	2.1977043525

	Jyy    [kg*m2]
	0.8136113354
	2.2174092744

	Jzz     [kg*m2]
	0.06326911582
	0.1446727817

	Jxy    [kg*m2]
	0.028778040992
	0.061550150231

	Jyz    [kg*m2]
	0.1256409378
	0.3166311606

	Jzx    [kg*m2]
	0.1564715156
	0.3837917432


[image: image7.png]X ADAMS/View 2005.0.0
Eile Edit View Buid Simulate Review Settings Tools Help
Last_Run Time= 7.4000 Frame=149

Main Toolbox [X]

Si

I«

Dynamic

No Debug ~
Render | lcons

‘}\ Left: 0225 Est. Duration: 10:14  Simulation time: 7.

X Message Window.

-ms L E 56 HM % R 71PN



   [image: image8.png]X ADAMS/View 2005.0.0
Eile Edit View Buid Simulate Review Settings Tools Help

Last_Run Time= 7.5500 Frame=152

A Main Toolbox X ]

ation

Dynamic

End Time
10

=
No Debug ~
Render | lcons

A Message Window.





                          a                                           b
Fig. 3 The 3D model of Triglide robot with  elastic rods of Φ 10mm (a) and Φ 20mm (b) and external mass of 2.5 Kg .
[image: image9.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0
gle Edt Vew | File Edit View Plot Tools Help

BmAE Voo ] @l GlE)a] 10| % AN Z]8 QIR DR [E
BT =

e plot 2
§ A4 Normal + Bold i 0585

curve_1
curve 2 J 0.58
haxis
vaxis 0.575
legend_object
0.57
0.565
0.56
0.555

Triglide

= plot_4
Atitle
cure_1
cure_2
haxis
vaxis

legend_object | 0.55

Narne Filter [~ 0_54%

v

Displacement [m]

0 1.0 X X 40 50 60 70
Time [s]

Header | Footer | None |

Data | Math |

Model Filter Object Characteristic Component [~ Surf

boay baza Add Curves
soree elenentl

constraint |+ slementz Add Curves To Curren

elemencs Clear Plot
elementd

elenenes Independent Axis:

Objects elenence & Time C Data

motorl

s start 9]





                                                a

[image: image10.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0

Ble et

vew

nuxl

Page 13 sec 8

start

Eile Edit Miew Plot Tools Help

@3S

o] NA[Z]R]

Header | Footer | None |

K tigide
page_1

page_3

= plot 4
Atitle
cure_1
cure_2
haxis
vaxis
legend_object

page 5

0.585

RIB DR 15

Triglide

0.58
0.575
0.57
0.565
0.56
0.555
0.55
0.545

Desplacement [m]

—Polar ray OP2 - rigid
——Polar ray OP2 - elastic

0.0

1.0 2.

0 30

40 50 60 70 8O0
Time [s]

Data | Math |
Model

Source

Filter

Filter

Object

Characteristic Component

boay
soree

baza
elenentl
elenentz
element3
elementd
elements
elenents
motorl

Add Curves To Current

Clear Plot

Independent Axis:

& Time C Data

9]

BzmEsSe





                                               b

Fig. 4 The platform center polar-ray variation for rods with Φ10mm (a) and with Φ20mm (b) in the premise of rigid rods (red-continues line) and elastic rods (blue-dash line). 
The simulations, in which the medical robot has rods with Φ10mm and external mass of 0.5 Kg and of 1.5 Kg, show that the differences between dynamic response of the rigid robot model and the response of the robot model with elastic connecting rods can be neglected; the relevant differences interfere for the mass of 2.5 Kg (see Figs. 2 … 7).

The dynamic ADAMS simulations, for the case of 2.5 Kg, are graphically illustrated in Fig. 3- 8 and highlight the following properties:

a) the displacement of the point P (the centre of the mobile platform) taken in consideration the elasticity’s of rods for the case with 10mm diameter have a notable differences in comparison with rigid case; this difference induces undesirable effects for speed and acceleration (Figs. 4, 5 and 6). 
In the case of rods with diameter of 20mm, the both models (rigid and elastic) give similar displacements (Fig. 4b).
b) Because the motors’ responses are similar, only the M3 motor response is illustrated in Figs. 7 and 8. 
[image: image11.png]GO0BIE TFAdUEE X ADAMS/PostProcessor 2005.0.0

Eile Edit Miew Plot Tools Help

Plotting

@382 14| %|A[%[Z]:

RIB DR | =) )

VxS L
legend_object Triglide
275
| —P2 velocity modulus-rigid
[ () —=P2 velocity modulus - elastic
Google it
Traducere = lplot 8 Q) [ n
Atitle £ t
Céutare tradusi curve_1 e~
curve_2 =
Unette pentry haxis S
traducere vaxis o
Instrumente gi legend_sbject =
tesurse page 9
(2 page_10
B2 nane 11
Narme Filter | *
> | X
Header | Footer | None | Time [s]
Data | Math |
Model Filter Object Characteristic Component [~ Surf
boay + baza Add Cures
forcs [+ elemency e
constraint |+ elementZ Add Curves To C“"E"j
+ elementa Clear Plot
+ slenencs
+ elemencs Independent Axis:
Objects | phemenes & Time C Data
oone Page Bof &0

)& 1@ 2R 10




a
[image: image12.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0
gle Edt Vew | File Edit View Plot Tools Help

%ﬁ Foir | @] |G 4] 0| %A% Z]4 R B[Ba] [ ) e
2t v 2 | - e ? 10 Triglide

Bloece 0 | —P2 velocity modulus - rigid
= MZ”“;‘E — —P2 velocity modulus - elastic
itle
curve_1
curve_2
haxis.
vaxis
legend_object
page_9

Velocity [m/s]

(Capage_13
Name Filter X
v . K X X 40 50 60 70 80 90
Header | Footer | None | Time [s]

Data | Math |

Mol Filter Object Characteristic Component [~ Surf

boay baza Add Cures
force Jy— ——
constraint [+ elementz Add Curves To Current
elemencd Clear Plot
elenancs

elenenes Independent Axis:

Objects hemens & Time C Data

Page B of

s start 9]




b

Fig. 5 The platform velocity variation for rods with Φ10mm (a) and with Φ20mm (b) in the premise of rigid rods (red-continues line) and elastic rods (blue-dash line).
[image: image13.png]Ci lucrare revista % ADAMS/PostProcessor 2005.0.0 =) BEH]

Ele Edt View | File Edit View Plot Tools Help
?EEE Pains =l @] o] B2 14 0] %A% Z[4] R DR (== E
- haxis

Triglide
i A4 Normal + Bold
- Tevens it 1500.0

Capage 9 —P2 acceleration modulus - rigid
page_10 ——P2 acceleration modulus - elastic

L page_11 1125.0
SE— |
= plot_12
Atitle
curve_1
curve_2
haxis
legend_object
(1 page_13
- Mnane 14

Narne Filter 0.0
v 0.0

Header | Footer | None |

750.0

375.0

Acceleration [m/s**2]

Time (sec)

Data | Math |

Model Filter Object Characteristic Component [~ Surf

boay baza Add Curves
soree elenentl

constraint |+ slementz Add Curves To Curren

elemencs Clear Plot

elenencs — =
elenenes Independent Axis:

Objects elenence & Time C Data

motorl

s start 9]





a
[image: image14.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0
gle Edt Vew | File Edit View Plot Tools Help

BEE fe -@|Ga]a] 6] WA ]S QIR DR /e ==
3 v Triglide

— 1500.0
(apage_11 —P2 acceleration modulus - rigid

®oage 2 | ——P2 acceleration modulus - elastic
= plot_12
At 1125.0
curve_1
curve_2
haxis.
vaxis
legend_object
(Eapage_13

750.0

375.0

Acceleration [m/s**2]

page_15
page_16

Name Filter X
v . . 5.0
Header | Footer | None | Time [s]

Filter Object Characteristic Component [~ Surf

boay baza Add Curves
soree elenentl

constraint |+ slementz Add Curves To Curren

elemencs Clear Plot

elenencs
elenenes Independent Axis:

Objects elenence & Time C Data

motorl

s start 9]





b

Fig. 6 The platform acceleration for rods with Φ10mm (a) and with Φ20mm (b) in the premise of rigid rods (red-continues line) and elastic rods (blue-dash line).
[image: image15.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0
Ble Edt Vew

nasfll
HANEA" NFS

A4 ol + od

Eile Edit Miew Plot Tools Help

R

Plotting  ~"

4 »] S[A[%[Z]8

@ B[ 2/ [0 e ]

page_39

Triglide
page_40

0.0

—M3 Displacement Y -rigid
——M3 Displacement Y- elastic

Page 12 sec 8

start

-
= plot_46
Atitle
cure_1
cure_2
haxis
vaxis
legend_object v

Narne Filter [~

v

Header | Footer | None |

Displacement [m]

-0.15
0.

0

10 2

.0 3.0

4.0

5.0
Time [s]

6.0

7.0

8.0

9.0

| Matn |

Objects

Filter

Object

Characteristic

Component

I Suf

boay
soree

baza
elenentl
elenentz
element3
elementd
elements
elenents
motorl

Add Curves

Add Curves To Curren

Clear Plot

Independent Axis:

& Time C Data

9]

Page 46 of





a

[image: image16.png]Chjlucrare revista X ADAMS/PostProcessor 2005.0.0 =] [-[2]x]
Fle Edt Yew | File Edit View Blot Tools Help

?EEE roing <] @ o] B2 14) 0| w|A|%]Z[ R @ DB (15
3 o+ s Triglide
§ A4 Normal + st E:;v;g 0.034

legend_object

| plot_13 -0.063

Atitle
curve_1
curve 2

haxis

vaxis
legend_object

—MB3 Displacement Y-rigid
-0.092 —=M3 Displacement Y-elastic

Displacement [m]

-0.121
(LI page_15

page_16

Narne Filter 201 50

v

.0 10 20 X 40 50 60 70 80 90
Time [s]

Header | Footer | None |

| Matn |

Filter Object Characteristic Component [~ Surf

boay baza Add Curves
soree elenentl

constraint |+ slementz Add Curves To Curren

elemencs Clear Plot

elenencs
elenenes Independent Axis:

Objects elenence & Time C Data

motorl

+y start O]





b

Fig. 7 Displacement variation in the M3 actuator for rigid rods (red continues line) and for elastic rods (blue-dash line) with Φ10mm (a) and with Φ20mm (b).
[image: image17.png]i luckare fevista X ADAMS/PostProcessor 2005.0.0
Pgle Edt wew | File Edit View Plot Tools Help

i) D]

inEel @] S|~
vaxis Bl
legend_object

page_55

page_57

= plot_58
Atitle
cure_1
cure_2
haxis
vaxis
legend_object
page_59
page_BD

Narne Filter

Header | Footer | None |

Force (newton)

5000.0

RIB DR |

Triglide

2500.0

0.07

'
: n '\n

i
||In.=|II:“|'l|| ,|II|

oy
\""

‘= ,::Iml',:

—M3 Force Y-rigid
——M3 ForceY-elastic

Time (sec)

75 10.0

Model

Source
Filter

Data | Math |

Objects

Filter

Object

Characteristic

Component [~ Surf

boay
soree

+ baza
elenentl
elenentz
element3
elementd
elements
elenents

+
+
+
+
+
+

motorl

3

Add Curves

Add Curves To Current 7

Clear Plot

Independent Axis:

& Time C Data

+y start O]

Page 58 of

QLIS |8 %R i20em




a
[image: image18.png]Chjlucrare revista X ADAMS/PostProcessor 2005.0.0 =] [~ [2]x]
Fle Edt Yew | File Edit View Blot Tools Help

2Rl e, - , RIBIDIR] B
R
4 el | T P2E Triglide

e plot_15 .
Atitle — M3 Force Y - rigid
curve_t ——M3 Force Y - elastic
curve_2

haxis
vaxis
legend_object
(1 page_16
e plot_16
Atitle
cure_1
cure_2

vt 2325

1825.0

Force [N]

-1350.0
0.

'
0 10 20 30 40 50 60 70 80 90
®oFil Time [s]

UserPlaced | ["paa [t |

Model Filter Object Characteristic Component [~ Surf

Black E pody baza Add Curves

soree elenentl e
constraint |+ slementz Add Curves To Curren

elemencs Clear Plot

elenencs
elenenes Independent Axis:

Objects elenence & Time C Data

motorl

s start 9]





b
[image: image19.png]Chlucrare revista X ADAMS/PostProcessor 2005.0.0
Bl Edt vew | File Edi View Plot Tools Help

kL) B e ke P PNESHEY RIRDIR [E

Qo3 Kiiglide Triglid
A4 noma+ e || ) T riglide
& | plot_1 .
Atitle
cure_1
haxis
vaxis
legend_object

Force [N]

Narne Filter

v 0. . . . 40 50 60 70 80 90
Header | Footer | None | Time [s]

Data | Math |

Model Object Characteristic Component [~ Surf

Pover_Consumption x Add Curves

Elenens_Torqus z ‘Add Curves To Curert

Translavional Displaces |May Clear Plot
Translational Velocity

Translavional_Accelerar Independent Axis:

Objects angular_velocivy
afgzw ¢

Angular_hcceleration @ Time © Data

iDraw~ L | Atost
+y start O]





c
Fig. 8 Driving force variation in M3 actuator for rigid rods (red continues line) and for elastic rods (blue-dash line) with Φ10mm (a) and with Φ20mm (b); detailed force variation in the case of rigid rods with Φ20mm (c). 
All motor’s displacements are close variations (Fig 7); this closeness can be observe also for the motor forces (Fig. 8c), but not in the case of the elastic rods with 10 mm diameter (Fig. 8a), in which the differences are very large. 
In the last case (with external mass of 2.5 Kg), although the weight of the moving elements (the 6 roads, 3 driving motors and the mobil platform) totalizes 3.11 Kg for 20mm roads‘diameter (see Table 1), unlike 1.16Kg for the 10mm roads‘diameter, the dynamic responses of the robot with elastical elements highlight a much better working behaviour in the case with 20mm roads‘diameter (Fig. 3a and b). The large elastic deformations from Fig. 2a and Fig. 3a, show that.
4. Conclusions 

1) This paper present the dynamic analyze by ADAMS simulations (displacement, speeds, accelerations, forces and rods’ deformation), considering three values for     external load  (of 0.5kg, 1.5kg and 2.5kg) and two values for rods’ diameter (of 10mm and 20mm).
2) Dynamic simulations’ results highlight that the differences between dynamic responses of the parallel robot with rigid rods and the robot with elastic roads are negligible for the external load of 0.5 and 1.5 Kg. The relevant differences interfere, the external load of 2.5 Kg, between elastic model with 10 mm roads’ diameter and with 20 mm roads’ diameter.
3) While the dynamic response of the robot with elastic roads of  20 mm diameter (and external mass of 2.5 Kg) is almost the same with the rigid robot response, the response of the robot with elastic roads of  10 mm diameter (and the same external mass) is hard controllable.
4) In according with the previous conclusion, a parallel robot of Triglide type can achieve a precise trajectory in medical applications, if a good correlation between roads’ rigidity, external loads and robot mass is accomplished. 
Acknowledgements
This work was supported by the Ministry of Education from Romania and Research grant PARTENERIATE no. 72197/1.10.2008 entitled ‘Complex mechatronics systems for medical applications - SMART’.

References

1. Y. Zhao and F. Gao, “Dynamic formulation and performance evaluation of the redundant parallel manipulator”, Robotics and Computer-Integrated Manufacturing, Vol. 25, 2009, pp. 770–781.

2. G. Gogu, Structural synthesis of parallel robots. Part 1: Methodology, Springer Verlag, 2008, pp.282.

3. Stan, S.-D. et al., “Kinematics Analysis, Design, and Control of an Isoglide3 Parallel Robot”, The 34th IEEE, Nov. 2008, Florida, pp.2636-2641. 
4. Stan, S.-D. et al., “Workspace and Kinematics Analysis of a Medical Parallel Robot for Cardiopulmonary Resuscitation“, IEEE-ICIT’09, Australia.

5. Rat, N. et al.,”Comportement des robots paralleles a mouvements decouples et corps deformable”, in Proc. of the 17eme Congres Français de Mecanique, Troyes, France, 2005, Act. on CD-ROM.
6. Stan, S.-D. et al., “Kinematics Analysis and Design of 3DOF Medical Parallel Robots”, Springerlink book chapter, pag 395-406, ISBN: 978-3-642-03201-1, 2009.
7. Stan, S.-D. et al., Modelling, design and control of 3DOF medical parallel robot. 
 Mechanika.  Kaunas: Technologija, 2008, Nr.6 (74), p.68-71.
8. Rat, N.R. and Neagoe, M., “ Rigid vs. flexible links dynamic analysis of a 3DOF parallel robot”, 3rd IEEE International Conference on Digital Ecosystems and Technologies, DEST’09, art no. 5276749, pp. 534-539.

N. R. Rat, M. Neagoe, D. Diaconescu, S. D. Stan
DYNAMIC SIMULATIONS REGARDING THE INFLUENCE OF THE LOAD-RIGIDITY CORRELATION ON THE WORKING ACCURACY OF A MEDICAL TRIGLIDE PARALLEL ROBOT
S u m m a r y

The paper presents the dynamic simulations regarding the influence of the load-rigidity correlation on the working accuracy of a medical Triglide parallel robot. It was proved that Triglide parallel robot can achieve a precise trajectory in medical applications, if a good correlation between roads’ rigidity, external loads and robot mass is accomplished.
M1





M3





L1





A3





L3





L2





Y





Z





X





B32





A31





B3





A32





B31





 N





M2





 O











 q3





Y





Z





X








_1341078610.unknown

_1342190753.unknown

_1341078566.unknown

